## 무대조명설비 목록
무대조명설비 목록(1)
NO | Description | Specification | Q'TY | Circuit |  |  | Capacity (KVA) | Circuit No
|  |  |  | Dimmig | Direct | R.Direct |  | Dimmig | Direct | R.Direct
1 | Border Light | Beam 150W * 9 Lamp | 10 Set | 6 |  |  | 18 | 1~6
2 | No.1 Suspension Light | HL 1Kw Fresnel Lens 8" | 24 Set | 24 |  | 4 | 24 | 7 ~30 |  | 1 ~4
3 | No. 2 Suspension Light | HL 1Kw Fresnel Lens 8" | 24 Set | 24 |  | 4 | 24 | 31~54 |  | 5~8
4 | No. 3 Suspension Light | HL 1Kw Fresnel Lens 8" | 24 Set | 24 |  | 4 | 24 | 55~78 |  | 9~12
5 | No. 4 Suspension Light | HL 1Kw Fresnel Lens 8" | 24 Set | 24 |  | 4 | 24 | 79~102 |  | 13~16
6 | Upper Horizont Light | HL 500W | 64 Set | 16 |  |  | 32 | 103~118
7 | Apron Top Light | HPL 750W 26˚ | 16 Set | 16 |  | 2 | 12 | 119~134 |  | 17~18
8 | Front Side Light (R) | HPL 750W 15~30˚ | 8 Set | 4 |  |  | 6 | 135~138
| Wall Pocket | C-Type 30A * 2 Outlete, 5A 3P 1EA | 1 Set |  |  | 2 | 4 |  |  | 19~20
9 | Front Side Light (L) | HPL 750W 15~30˚ | 8 Set | 4 |  |  | 6 | 139~142
| Wall Pocket | C-Type 30A * 2 Outlete, 5A 3P 1EA | 1 Set |  |  | 2 | 4 |  |  | 21~22
10 | No.1 Ceiling Light | HPL 750W 15~30˚ | 24 Set | 12 |  |  | 18 | 143~154
| Wall Pocket | C-Type 30A * 3 Outlete, XLR 3P 1EA | 1 Set |  | 2 |  | 2 |  | 1~2
11 | No.2 Ceiling Light | HL 2KW 12~25˚ (Combi 25 ZM) | 18 Set | 18 |  |  | 18 | 155~172
| Wall Pocket | C-Type 30A * 3 Outlete | 1 Set |  | 3 |  | 3 |  | 3~5
| Follow Pin Spot Light | XENON 2KW(USHIO Lighting) | 2 Set
무대조명설비 목록(2)
NO | Description | Specification | Q'TY | Circuit |  |  | Capacity (KVA) | Circuit No
|  |  |  | Dimmig | Direct | R.Direct |  | Dimmig | Direct | R.Direct
12 | No.1 Tower Light (R) | HL 1Kw Convex Lens 8" | 4 Set | 4 |  |  | 7 | 173~176
|  | HPL 750W 36˚ | 4 Set
13 | No.2 Tower Light (L) | HL 1Kw Convex Lens 8" | 4 Set | 4 |  |  | 7 | 177~180
|  | HPL 750W 36˚ | 4 Set
14 | No.1 Floor Pocket | 30A * 2 WAY, 5A 3P-1EA | 2 Set |  |  | 4 | 4 |  |  | 23~26
15 | No.2 Floor Pocket | 30A * 3 WAY | 2 Set | 6 |  |  | 6 | 181~186
16 | No.3 Floor Pocket | 30A * 4 WAY | 2 Set | 8 |  |  | 8 | 187~194
17 | No.4 Floor Pocket | 30A * 4 WAY | 2 Set | 8 |  |  | 8 | 195~202
18 | No.5 Floor Pocket | 30A * 4 WAY | 2 Set | 8 |  |  | 8 | 203~210
19 | No.6 Floor Pocket | 30A * 4 WAY | 2 Set | 8 |  |  | 8 | 211~218
20 | No.7 Floor Pocket | 30A * 2 WAY, 5A 3P-1EA | 2 Set |  |  | 4 | 8 |  |  | 27~30
21 | No.1 Upper Sound Ref'Board Down Light | HL 500W | 21 Set | 3 |  |  | 10.5 | 219~221
22 | No.2 Upper Sound Ref'Board Down Light | HL 500W | 19 Set | 3 |  |  | 9.5 | 222~224
23 | DMX Spliter Box | 1 IN 8 OUT | 2 Set |  | 2 |  |  |  | 6~7
24 | Main Dimmer Unit Rack | DX 1230 Dimmer Rack System - Dim 264 Circuit | 1 L/S
| Sub Dimmer Unit Rack | DIM : 50, RD :3 | 1 L/S
무대조명설비 목록(3)
NO | Description | Specification | Q'TY | Circuit |  |  | Capacity (KVA) | Circuit No
|  |  |  | Dimmig | Direct | R.Direct |  | Dimmig | Direct | R.Direct
25 | Main Computer Console | 1024 CH (HYDRA SKY 48) | 1 Set | ★.대여(사용)불가
| Sub Control Console | 1M 20CH, RD 40 Circuit | 1 Set
| Moving Console | 1024 DMX Channel (LINCON 1), JB LIGHTING | 1 Set | ★.대여(사용)불가
26 | Sub Power Panel | 4P 100AF/100A, 30A "C"Type Consent 3EA | 4 Set
27 | Moving Head | MSR 575W (JOLLY) | 4 Set
28 | PAR Light(PAR 64) | PAR 1KW(CP/61) | 48 Set
29 | PAR Light(PAR 46) | PAR 28V/250W(4553) | 7조
30 | 4구 뱅크 | PAR 28V/250W(4553) | 8조
31 | 싸이키 | DMX 1.5KW | 2 Set
32 | 이동식 조명 타워 프레임 |  | 4 Set
33 | 드라이아이스머신 |  | 2 Set
34 | 포그머신 | Model 1700 (Rosco) | 2 Set
35 | 헤이즈머신 | HZ-500 (Antari) | 1 Set

## 대공연장
상 부
Upper (16회로)
파노라마 |  | 103 |  | 104 |  | 105 |  | 106 |  | 107 |  | 108 |  | 109 |  | 110 |  | 111 |  | 112 |  | 113 |  | 114 |  | 115 |  | 116 |  | 117 |  | 118 |  | 파노라마
| 176 | [32 empty] | 177
| 175 | SUS4 (24회로) | [31 empty] | 178
| 174 | RD(13) |  | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | RD(14) |  | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | RD(15) |  | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | RD(16) |  | 179
| 173 | [32 empty] | 180
SUS3 (24회로)
| 176 | RD(9) |  | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | RD(10) |  | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | RD(11) |  | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | RD(12) |  | 177
| 175 | [32 empty] | 178
| 174 | [32 empty] | 179
| 173 | SUS2 (24회로) | [31 empty] | 180
|  | RD(5) |  | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | RD(6) |  | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | RD(7) |  | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | RD(8)
| 176 | [32 empty] | 177
| 175 | [32 empty] | 178
| 174 | SUS1 (24회로) | [31 empty] | 179
| 173 | RD(1) |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | RD(2) |  | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | RD(3) |  | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | RD(4) |  | 180
Apron (16회로)
[6 empty] | RD(17) |  | 119 | 120 | 121 | 122 | 123 | RD(17) |  | 124 | 125 | 126 | 127 | 128 | 129 | RD(18) |  | 130 | 131 | 132 | 133 | 134 | RD(18)
F/S | [33 empty] | F/S
135 | 136 | [32 empty] | 139 | 140
137 | 138 | [32 empty] | 141 | 142
RD(19) | [33 empty] | RD(21)
RD(20) | [33 empty] | RD(22)
Balcony (12회로)
[8 empty] | 245 | 246 | 247 | RD41 |  | 248 | 249 | 250 | RD42 |  | 251 | 252 | 253 | RD43 |  | 245 | 255 | 256 | RD44
Ceiling1 (12회로)
[6 empty] | 143 | 143 | 144 | 144 | 145 | 145 | 146 | 146 | 147 | 147 | 148 | 148 | 149 | 149 | 150 | 150 | 151 | 151 | 152 | 152 | 153 | 153 | 154 | 154
[16 empty] | RD(2) |  | RD(1)
Ceiling2 (18회로)
[6 empty] | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | Follow Spot(2Kw) * 2EA | [5 empty] | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 음향반사판 |  |  | 401 ~ 440
[15 empty] | RD(5) |  | RD(4) |  | RD(3) | [10 empty] | 객석 |  |  | 441 ~ 454
[30 empty] | FOH조정실 |  |  | 455 ~ 456
[30 empty] | 간접등 2F |  |  | 457 ~ 460
[30 empty] | 간접등 1F |  |  | 461 ~ 464
|  | ※Dimmer : |  |  |  | Ceiling2 (18회로) 158: ※RD : | ※DMX :
하 부(FLOOR)
100A | [33 empty] | 100A
|  | F/L3 | [16 empty] | F/C3 | [10 empty] | F/R3
|  | RD(31) |  | RD(32) |  | Ceiling2 (18회로) 162: 235; Ceiling2 (18회로) 163: 236 | 237 | 238 |  |  | RD(39) |  | RD(40) | [8 empty] | RD(33) |  | RD(34)
|  | 219 | 220 | 221 | 222 | [24 empty] | 223 | 224 | 225 | 226
F/C2
|  | 211 | 212 | 213 | 214 | Ceiling2 (18회로) 162: 231; Ceiling2 (18회로) 163: 232 | 233 | 234 |  |  | RD(37) |  | RD(38) | [8 empty] | 215 | 216 | 217 | 218
|  | F/L2 | [27 empty] | F/R2
|  | RD(27) |  | RD(28) | [25 empty] | RD(29) |  | RD(30)
|  | 203 | 204 | 205 | 206 | [24 empty] | 207 | 208 | 209 | 210
|  | F/L1 | [27 empty] | F/R1
|  | RD(23) |  | RD(24) | [25 empty] | RD(25) |  | RD(26)
|  | 195 | 196 | 197 | 198 | [24 empty] | 199 | 200 | 201 | 202
|  |  | 189 | 190 | 191 | [25 empty] | 192 | 293 | 194
[23 empty] | F/C1 | [10 empty] | 225A
100A |  |  |  | 181 | 182 | 183 | 184 |  | 227 | 228 | 229 | 230 | [10 empty] | RD(35) |  | RD(36) |  |  | 185 | 186 | 187 | 188 |  |  | 100A
|  | Wall Pocket | [28 empty] | Wall Pocket
|  | 257 | 258 | 259 | [26 empty] | 260 | 261 | 262
|  | RD(45) | [28 empty] | RD(46)
[6 empty] | Ceiling2 (18회로) 158: 227; Ceiling2 (18회로) 159: 228; Ceiling2 (18회로) 160: 229 | [9 empty] | 227 | 228 | 229
오케스트라 피트
|  | ※Dimmer : |  |  |  | Ceiling2 (18회로) 158: ※RD : | ※DMX : |  |  |  |  | ※분전반 :